1.0 SPECIFICATION

1.1. SYSTEM HARDWARE

i. FIRE SUPPRESSION SYSTEM HARDWARE

| NO | PART AND COMPONENT | MANUFACTURER | BRAND |
| --- | --- | --- | --- |
| 01 | Extinguishing Agent |  |  |
| 02 | Discharge Valve Including Siphon Tube |  |  |
| 03 | Discharge Container (Storage Cylinder) |  |  |
| 04 | Discharge Hose |  |  |
| 05 | Manifold Check Valve (Non Return Valve – One Way Valve) |  |  |
| 06 | Discharge Nozzle |  |  |
| 07 | Discharge Actuation |  |  |
| 08 | Pressure Gauge |  |  |
| 09 | Pressure Switch |  |  |
| 10 | Cylinder Bracket |  |  |
| 11 | Discharge Manifold |  |  |

ii. FIRE ALARM AND DETECTION SYSTEM HARDWARE

| NO | MECHANICAL COMPONENT | MANUFACTURER | BRAND |
| --- | --- | --- | --- |
| 01 | Releasing Agent Control Panel |  |  |
| 02 | Manual Discharge Station |  |  |
| 03 | Manual Abort Station |  |  |
| 04 | Optical Smoke Detector |  |  |
| 05 | Optical Smoke with Thermal Detector |  |  |
| 06 | Alarm Bell |  |  |
| 07 | LED Beacon |  |  |
| 08 | LED Discharge Sign |  |  |
| 09 | Backup Battery |  |  |
| 10 | Single Flashing Light Complete With Buzzer |  |  |
| 11 | Evacuate Signal |  |  |
| 13 | Power Line Lightning Arrestor 240 VAC |  |  |
| 14 | Signal Line Lightning Arrestor 24 VDC |  |  |

1.2. APPROVAL

i. FIRE SUPPRESSION SYSTEM HARDWARE

| NO | PART NAME | PART NUMBER | STANDARD COMPLIANCE | REQUIREMENT & TESTING METHODS | APPROVAL BODY | FILE NUMBER |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Extinguishing Agent |
|  |  |  | NFPA-2001 | UL-2166 | UL |  |
|  |  |  |  | UL-2127 | UL |  |
|  |  |  |  | FM-5600 | FM Global |  |
|  |  |  | ISO 14520 | LPS-1230 | LPCB |  |
|  |  |  |  | VdS 2454 | VdS |  |
|  |  |  |  | FM-5600 | FM Global |  |
| 02 | Discharge Valve Including Siphon Tube |
|  |  |  | NFPA-2001 | UL-2166 | UL |  |
|  |  |  |  | UL-2127 | UL |  |
|  |  |  |  | FM-5600 | FM Global |  |
|  |  |  | ISO 14520 | LPS-1230 | LPCB |  |
|  |  |  |  | VdS 2454 | VdS |  |
|  |  |  |  | FM-5600 | FM Global |  |
| 03 | Discharge Container (Storage Cylinder) |
|  |  |  | NFPA-2001 | UL-2166 | UL |  |
|  |  |  |  | UL-2127 | UL |  |
|  |  |  |  | FM-5600 | FM Global |  |
|  |  |  | ISO 14520 | LPS-1230 | LPCB |  |
|  |  |  |  | VdS 2454 | VdS |  |
|  |  |  |  | FM-5600 | FM Global |  |
| 04 | Discharge Hose |
|  |  |  | NFPA-2001 | UL-2166 | UL |  |
|  |  |  |  | UL-2127 | UL |  |
|  |  |  |  | FM-5600 | FM Global |  |
|  |  |  | ISO 14520 | LPS-1230 | LPCB |  |
|  |  |  |  | VdS 2454 | VdS |  |
|  |  |  |  | FM-5600 | FM Global |  |

| NO | PART NAME | PART NUMBER | STANDARD COMPLIANCE | REQUIREMENT & TESTING METHODS | APPROVAL BODY | FILE NUMBER |
| --- | --- | --- | --- | --- | --- | --- |
| 05 | Manifold Check Valve (Non Return Valve – One Way Valve) |
|  |  |  | NFPA-2001 | UL-2166 | UL |  |
|  |  |  |  | UL-2127 | UL |  |
|  |  |  |  | FM-5600 | FM Global |  |
|  |  |  | ISO 14520 | LPS-1230 | LPCB |  |
|  |  |  |  | VdS 2454 | VdS |  |
|  |  |  |  | FM-5600 | FM Global |  |
| 06 | Discharge Nozzle |
|  |  |  | NFPA-2001 | UL-2166 | UL |  |
|  |  |  |  | UL-2127 | UL |  |
|  |  |  |  | FM-5600 | FM Global |  |
|  |  |  | ISO 14520 | LPS-1230 | LPCB |  |
|  |  |  |  | VdS 2454 | VdS |  |
|  |  |  |  | FM-5600 | FM Global |  |
| 07 | Discharge Actuation |
|  |  |  | NFPA-2001 | UL-2166 | UL |  |
|  |  |  |  | UL-2127 | UL |  |
|  |  |  |  | FM-5600 | FM Global |  |
|  |  |  | ISO 14520 | LPS-1230 | LPCB |  |
|  |  |  |  | VdS 2454 | VdS |  |
|  |  |  |  | FM-5600 | FM Global |  |
| 08 | Pressure Gauge |
|  |  |  | NFPA-2001 | UL-2166 | UL |  |
|  |  |  |  | UL-2127 | UL |  |
|  |  |  |  | FM-5600 | FM Global |  |
|  |  |  | ISO 14520 | LPS-1230 | LPCB |  |
|  |  |  |  | VdS 2454 | VdS |  |
|  |  |  |  | FM-5600 | FM Global |  |

| NO | PART NAME | PART NUMBER | STANDARD COMPLIANCE | REQUIREMENT & TESTING METHODS | APPROVAL BODY | FILE NUMBER |
| --- | --- | --- | --- | --- | --- | --- |
| 09 | Pressure Switch |
|  |  |  | NFPA-2001 | UL-2166 | UL |  |
|  |  |  |  | UL-2127 | UL |  |
|  |  |  |  | FM-5600 | FM Global |  |
|  |  |  | ISO 14520 | LPS-1230 | LPCB |  |
|  |  |  |  | VdS 2454 | VdS |  |
|  |  |  |  | FM-5600 | FM Global |  |
| 10 | Cylinder Bracket |
|  |  |  | NFPA-2001 | UL-2166 | UL |  |
|  |  |  |  | UL-2127 | UL |  |
|  |  |  |  | FM-5600 | FM Global |  |
|  |  |  | ISO 14520 | LPS-1230 | LPCB |  |
|  |  |  |  | VdS 2454 | VdS |  |
|  |  |  |  | FM-5600 | FM Global |  |
| 11 | Discharge Manifold |
|  |  |  | NFPA-2001 | UL-2166 | UL |  |
|  |  |  |  | UL-2127 | UL |  |
|  |  |  |  | FM-5600 | FM Global |  |
|  |  |  | ISO 14520 | LPS-1230 | LPCB |  |
|  |  |  |  | VdS 2454 | VdS |  |
|  |  |  |  | FM-5600 | FM Global |  |
| 12 | System |
|  |  |  | NFPA-2001 | UL-2166 | UL |  |
|  |  |  |  | UL-2127 | UL |  |
|  |  |  |  | FM-5600 | FM Global |  |
|  |  |  | ISO 14520 | LPS-1230 | LPCB |  |
|  |  |  |  | VdS 2454 | VdS |  |
|  |  |  |  | FM-5600 | FM Global |  |

ii. FIRE ALARM AND DETECTION SYSTEM HARDWARE

| NO | PART NAME | PART NUMBER | STANDARD COMPLIANCE | REQUIREMENT & TESTING METHODS | APPROVAL BODY | FILE NUMBER |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Releasing Agent Control Panel |
|  |  |  | ISO 7240 | LPS-1257 | LPCB |  |
|  |  |  | NFPA 72 | UL-864 | UL |  |
|  |  |  | EN 54 | LPS-1257 | LPCB |  |
|  |  |  |  | VdS-2540 | VdS |  |
|  |  |  |  | VdS-2541 | VdS |  |
|  |  |  | EN-12094 | VdS-2344 | VdS |  |
| 02 | Manual Discharge Station |
|  |  |  | ISO 7240 | LPS-1257 | LPCB |  |
|  |  |  | NFPA 72 | UL-38 | UL |  |
|  |  |  | EN 54 | LPS-1257 | LPCB |  |
|  |  |  |  | VdS-2540 | VdS |  |
| 03 | Manual Abort Station |
|  |  |  | ISO 7240 | LPS-1257 | LPCB |  |
|  |  |  | NFPA 72 | UL-38 | UL |  |
|  |  |  | EN 54 | LPS-1257 | LPCB |  |
|  |  |  |  | VdS-2540 | VdS |  |
| 04 | Optical Smoke Detector |
|  |  |  | ISO 7240 | LPS-1257 | LPCB |  |
|  |  |  | NFPA 72 | UL-217 or 268 | UL |  |
|  |  |  | EN 54 | LPS-1257 | LPCB |  |
|  |  |  |  | VdS-2540 | VdS |  |
| 05 | Optical Smoke With Thermal Detector |
|  |  |  | ISO 7240 | LPS-1257 | LPCB |  |
|  |  |  | NFPA 72 | UL-217 or 268 | UL |  |
|  |  |  | EN 54 | LPS-1257 | LPCB |  |
|  |  |  |  | VdS-2540 | VdS |  |

| NO | PART NAME | PART NUMBER | STANDARD COMPLIANCE | REQUIREMENT & TESTING METHODS | APPROVAL BODY | FILE NUMBER |
| --- | --- | --- | --- | --- | --- | --- |
| 06 | Heat Detector |
|  |  |  | ISO 7240 | LPS-1257 | LPCB |  |
|  |  |  | NFPA 72 | UL-521 | UL |  |
|  |  |  | EN 54 | LPS-1257 | LPCB |  |
|  |  |  |  | VdS-2540 | VdS |  |
| 07 | Multiple Tone Alarm Bell |
|  |  |  | ISO 7240 | LPS-1257 | LPCB |  |
|  |  |  | NFPA 72 | UL-464 | UL |  |
|  |  |  | EN 54 | LPS-1257 | LPCB |  |
|  |  |  |  | VdS-2540 | VdS |  |
| 08 | LED Beacon |
|  |  |  | ISO 7240 | LPS-1257 | LPCB |  |
|  |  |  | NFPA 72 | UL-1971 | UL |  |
|  |  |  | EN 54 | LPS-1257 | LPCB |  |
|  |  |  |  | VdS-2540 | VdS |  |
| 09 | Extinguishing Discharge Sign |
|  |  |  | ISO 7240 | LPS-1257 | LPCB |  |
|  |  |  | NFPA 72 | UL-1971 | UL |  |
|  |  |  | EN 54 | LPS-1257 | LPCB |  |
|  |  |  |  | VdS-2540 | VdS |  |
| 10 | Backup Battery |
|  |  |  | ISO 7240 | LPS-1257 | LPCB |  |
|  |  |  | NFPA 72 | UL-864 | UL |  |
|  |  |  | EN 54 | LPS-1257 | LPCB |  |
|  |  |  |  | VdS-2541 | VdS |  |
| 11 | LED Single Flashing Light Complete With Buzzer |
|  |  |  | ISO 7240 | LPS-1257 | LPCB |  |
|  |  |  | NFPA 72 | UL-1971 | UL |  |
|  |  |  | EN 54 | LPS-1257 | LPCB |  |
|  |  |  |  | VdS-2540 | VdS |  |

| NO | PART NAME | PART NUMBER | STANDARD COMPLIANCE | REQUIREMENT & TESTING METHODS | APPROVAL BODY | FILE NUMBER |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | LED Evacuate Signal |
|  |  |  | ISO 7240 | LPS-1257 | LPCB |  |
|  |  |  | NFPA 72 | UL-1971 | UL |  |
|  |  |  | EN 54 | LPS-1257 | LPCB |  |
|  |  |  |  | VdS-2540 | VdS |  |
| 13 | Power-Line Lightning Arrestor 240 VAC |
|  |  |  | ISO 7240 | LPS-1257 | LPCB |  |
|  |  |  | NFPA 72 | UL-1449 | UL |  |
|  |  |  | EN 54 | LPS-1257 | LPCB |  |
|  |  |  |  | VdS-2540 | VdS |  |
| 14 | Signal-Line Lightning Arrestor 24 VDC |
|  |  |  | ISO 7240 | LPS-1257 | LPCB |  |
|  |  |  | NFPA 72 | UL-1449 | UL |  |
|  |  |  | EN 54 | LPS-1257 | LPCB |  |
|  |  |  |  | VdS-2540 | VdS |  |

1.3. SUITABILITY FOR SUBSTATION

| NO | REFERENCE DOCUMENT | STANDARD COMPLIANCE | APPROVAL BODY | FILE NO | REMARK |
| --- | --- | --- | --- | --- | --- |
| 01 | Application Limitations |
| 02 | Agent Leakage And Concentration Decay |
| 03 | Enclosure Integrity Testing |

1.4. APPROVAL FROM BOMBA

| NO | REFERENCE DOCUMENT | STANDARD COMPLIANCE | APPROVAL BODY | FILE NO | REMARK |
| --- | --- | --- | --- | --- | --- |
| 01 | Safe To Human – Normally Occupied Area |
| 02 | Total Flooding |

1.5. ENVIRONMENTAL FRENDLY

| NO | REFERENCE DOCUMENT | STANDARD COMPLIANCE | APPROVAL BODY | FILE NO | REMARK |
| --- | --- | --- | --- | --- | --- |
| 01 | Environment Friendly – (EPE SNAP List) |
| 02 | Banned Product (In 10 Years) |

1.6. ELECTRICAL AND ELECTRONIC EQUIPMENT FRIENDLY

| NO | REFERENCE DOCUMENT | STANDARD COMPLIANCE | APPROVAL BODY | FILE NO | REMARK |
| --- | --- | --- | --- | --- | --- |
| 01 | Clean Agent |
| 02 | Leaves No Residue |

1.7. SUITABILITY OF ALL CLASSES OF FIRES

| NO | REFERENCE DOCUMENT | STANDARD COMPLIANCE | APPROVAL BODY | FILE NO | REMARK |
| --- | --- | --- | --- | --- | --- |
| 01 | Building And Fitting |
| 02 | Equipment And Cabling |

2.0. FIRE PROTECTIONS STANDARD

2.1. FIRE SUPPRESSION SYSTEM STANDARD

| NO | STANDARD | COMPLIANCE | APPROVAL BODY | FILE NO | REMARK |
| --- | --- | --- | --- | --- | --- |
| 01 | MS ISO 14520 |
| 02 | NFPA 2001 |
| 03 | NFPA 2010 |

2.2. ALARM AND DETECTION SYSTEM STANDARD

| NO | STANDARD | COMPLIANCE | APPROVAL BODY | FILE NO | REMARK |
| --- | --- | --- | --- | --- | --- |
| 01 | ISO 7240 |
| 02 | NFPA 72 |
| 03 | EN 54 |

Note:

- The LPCB Listing can be viewed / accessed through www.redbooklive.com.

- The UL Certificate can be viewed / accessed through www.ul.com, Online Certification Section.

- The VdS Listing can be found in BLUEBOOK Volume 1.